[image: image1.png]Energy Performance Certificate

Address of dwelling and other details

21-3, Elbe Street Dwelling type: Semi-detached flat
EDINBURGH Name of approved organisation:
EH6 7HP Membership number:
Date of certificate: 08 September 2010
Reference number: 0000-0000-0000-0000-0000
Type of assessment: SAP, new dwelling
Total floor area: 64m?

Main type of heating and fuel: Boiler and radiators, mains gas

This dwelling's performance ratings

This dwelling has been assessed using the SAP 2005 methodology. Its performance is rated in terms of the
energy use per square metre of floor area, energy efficiency based on fuel costs and environmental impact
based on carbon dioxide (CO,) emissions. CO; is a greenhouse gas that contributes to climate change.

Environmental Impact(CO») Rating

Energy Efficiency Rating

Current | Potential Current | Potential

Very-energy efficient - lower running costs Very environmentally friendly - lower CO ., emissiony

(21 - 38)

(1-20)

INot environmentally friendly - higher CO, emissiong

Not energy efficient - higher running costs

EU directive

EU directive
Scotland 2002/91/EC Scotland 2002/91/EC
The energy efficiency rating is a measure of the The environmental impact rating is a measure of
overall efficiency of the home. The higher the a home's impact on the environment in terms of
rating the more energy efficient the home is and carbon dioxide (CO;) emissions. The higher the
the lower the fuel bills are likely to be. ' rating the less impact if has on the environment.

Approximate current energy use per square metre of floor area; 138 kWh/m?/year
Approximate current CO, emissions: 23 kg/m?/year

Cost effective improvements

Below is a list of lower cost measures that will raise the energy performance of the dwelling to the
potential indicated in the tables above. ‘

1 Low energy lighting for all fixed outlets

Remember to look for the energy saving recommendation logo when buying energy-efficient
products. It's a quick and easy way to identify the most energy-efficient products on the market

For advice on how to take action and to find out about offers avaitable to help make your home

recommended TGRS efficient, call 0800 512 012 or visit www.energysavingtrust.org.uk/myhome

N.B. THIS CERTIFICATE MUST BE AFFIXED TO THE DWELLING AND NOT BE REMOVED

UNLESS IT IS REPLACED WITH AN UPDATED VERSION.
Page 1 of 1




